Contractor Safety Information Pack

For

At

The Thistles Shopping Centre

Goosecroft Road

Stirling

FK8 2EA

23rd March 2017

On Behalf of:

Jones Lang LaSalle

40 Bank Street

London

E14 5EG

Contents

1. 	General Health & Safety Arrangements	4

2. 	Site Health & Safety Rules for Contractors	5

3. 	Visitor Safety	6

4. 	Site Hazard Inventory for Thistles Shopping Centre March 2017	7

4.1	Red List Hazardous Areas / Issues	7

4.2	General Hazardous Areas / Issues	7

4.3 	Hazardous Activities	9

|  | This document was compiled by the S2 Partnership 14-17 Avenue Business Park, Elsworth, Cambridge, CB23 4EY Tel: 01954 267788 Fax: 01954 267795 Email: info@s2partnership.co.uk Website: www.s2partnership.co.uk |
| --- | --- |

Revisions and Amendments

| Amendment date | Comments | Name of person making the amendment |
| --- | --- | --- |

# 1. 	General Health & Safety Arrangements

| Site Contacts |
| --- |
| Operations Manager | Robert Baker Mobile: 07970032810 |

| First Aid and Accidents |
| --- |
| Appointed Persons for First Aid: | Robert Baker |
| Location of First Aid Kits: | Management office suite, mall areas and car park areas |
| Location of Accident Book: | Intranet site used |
| Person responsible for RIDDOR | Robert Baker |
| Nearest Accident and Emergency Hospital: | Forth Valley Royal Hospital Stirling Road Larbert Tel: 01324 5660000 |

| Fire |
| --- |
| Fire Alarm Sounder: | Bell and Public address |
| Fire Assembly Point: | There are 7 fire assembly points throughout the site are located at: East Sub Station, Stair 8, Goosecroft Road, May Day Yard, Cameronian Way, Port Street, Murray Place |
| Local Fire & Rescue Service: | Scottish Fire & Rescue Service Raploch Road Fire Station Stirling FK8 1TH Tel: 01786-472223 |

| Location / isolation of Services |
| --- |
| Gas: | Terminal 1- near exit to service road Terminal 2 – rear of T2 car park |
| Water: | See site facilities for further information |
| Electricity: | Terminal 1 – switch room in service road Terminal 2- Upper east service corridor panel 2 |

# 2. 	Site Health & Safety Rules for Contractors

# 3. 	Visitor Safety

# 4. 	Site Hazard Inventory for Thistles Shopping Centre March 2017

## 4.1	Red List Hazardous Areas / Issues

The following Red List Hazardous Areas / Issues are considered so significant at Thistles Shopping Centre that all contractors must complete a HAZWORK Permit, even those with Preferred Contractor status.

| Red List Hazardous Area / Issue | Location description | Additional information |
| --- | --- | --- |
| None |  |  |

## 4.2	General Hazardous Areas / Issues

| Hazardous Area / Issue | Location description | Additional information |
| --- | --- | --- |
| Asbestos | Asbestos register held in Management Suite office | Tenant areas when vacated are being inspected for asbestos in Terminal 1 |
| Confined spaces | Lift shafts | T1 & T2 Mall areas |
| Electrical switch rooms | Terminal 1 roof area is at different levels some areas not protected at last risk assessment | Access to roof secured Work on roof subject to risk assessment and method statement |
| Facade Access Equipment | Located between roof areas Terminal 1 and Terminal 2 BT extension roof Equipment not responsibility of JLL | Access to roof secured Work on roof subject to risk assessment and method statement |
| Fixed ladders | Terminals 1&2 Facilities for further information | Access to LV intake secured |
| Fragile structure | Terminal 2 car park Terminal 1- Atria over mall areas Glass atrium above Terminal 2 Roof lights on Terminal 1 | Access to roof secured Work on roof subject to risk assessment and method statement Areas secured only authorised persons |
| Lift Motor Rooms | Terminal 2 east service corridor Terminal 1 car park, BT extension, Hendersons and Master Freeze | Lift motor rooms secured, accredited contractor carries out testing and maintenance |
| Lift shafts | See above |  |
| LV/ HV electrical intake | Terminal 1 service yard loading bay |  |
| Noise | Terminal 1 generator room Terminal 2 Generator room Terminal 2 sprinkler valve room | Noise risk assessment carried out. Appropriate signage in place regarding ear protection |
| Plant rooms | Service yards and off service corridors T1& T2 | Permit to work, site specific risk assessment and method statements approved by SFM. |
| Unprotected roof | Terminal 1 roof area Terminal 2 roof area | Access to roof secured. Where work is carried out at height it is subject to site specific risk assessment and method statement |

## 4.3 	Hazardous Activities

Activities undertaken on site which may be considered to be “Hazardous” include:

- Window Cleaning

- High Access Equipment maintenance, examination & repair

- Work at Height

- Engineering Insurance Examinations

- Lift repair, Inspection and Testing

- Hot Work

- HV Switching operations

- Live Electrical Work

- Asbestos Removal and Encapsulation

- Loading, unloading or delivery of hazardous materials

- Work on Fire Detection, Warning and Suppression Systems

Notes:

- You may need to submit a Hazwork Permit for approval if you are working in a Hazardous Area, or if your work includes any Hazardous Activities.  The responsible Jones Lang LaSalle Site Manager for this site will advise.

- Access to ‘Red list’ hazardous areas, identified in 4.1 must be subject to a Hazwork Permit for all contractors (including JLL preferred suppliers).

- The Inherent General Hazardous Areas / Issues Schedule in 4.2 above is intended to summarize hazardous areas identified on the date of the landlord’s current General Health & Safety Risk Assessment.  Contractors should also refer to the landlord’s current General Health & Safety Risk Assessment for this site, which is available from the Site Manager and which contains additional information about risk controls.

- The Hazardous Activities Schedule in 4.3 above is taken from the Jones Lang LaSalle Health & Safety Guidance Manual for Property Managers and is not an exhaustive list.

- Contractors and the Site Manager have a duty to review and update this Site Hazard Inventory (SHI) in line with the Jones Lang LaSalle Health & Safety Guidance Manual for Property Managers (Suppliers and Projects - Co-operation & Co-ordination).

- Contractors have a legal responsibility to carry out their own safety risk assessments before commencing any work. The S2 Partnership cannot be held liable for a contractor’s failure to identify and implement proper risk controls in respect of their work at Thistles Shopping Centre

# Text boxes

Site Safety Rules

Before you start work:

- Understand what to do in a site emergency, e.g. Fire.  Know what the alarm sounds like and how to escape from your work area

- If your work is hazardous or in a hazardous area, make sure you have a signed Jones Lang LaSalle Hazwork permit

- Make sure you know how to contact the Site Manager in an emergency

- Understand the site health & safety risk assessment for your work area –the Site Manager can show you a copy and explain what it means

- If you are working alone, make sure you know the site procedure for lone working & report on completion of works

- Understand your own company’s risk assessment and method statement for the work you are doing

- Be aware of Jones Lang LaSalle’s Health & Safety and Environmental policy

Site Rules:

- Do not smoke anywhere on site

- Only use rest areas agreed by the Site Manager

- Wear the right protective clothing - do not work without a shirt

- While you are working keep your work area safe and tidy

- Avoid disturbing site occupants and visitors - keep noise down and do not play music

- Do not block fire exits and other access routes

- Do not work or interfere with anything for which you do not have permission

- Do not go anywhere or work where you do not have permission

- Follow safety instructions and signs

- When you finish working, leave your work area safe, secure and tidy

- Take all waste away with you

Let the Site Manager know if:

- You see something that you think could be dangerous

- You have damaged or broken something

- You are not sure about anything to do with your work or our safety rules

Remember that you are responsible for working safely on this site!

Don’t put yourself or others at risk!

Welcome to Thistles Shopping Centre Stirling

As managers of Thistles Shopping Centre, Jones Lang LaSalle are committed to making sure that your visit here is safe. Please take a few moments to read this important notice:

Fire and Emergency Evacuation

If you hear a fire alarm please make your way immediately and calmly to the nearest exit

- Do not delay for any reason

- Do not take any risks

- Do not attempt to tackle any fire yourself

- Do not stop to collect personal items

- Do not use a lift

It is very important that we know you have left the site safely.  Please make your way to the Assembly Point and make yourself known to a member of staff there.

- Do not re-enter the site until the Site Manager or attending Fire Officer has given the ALL CLEAR.

Site Safety

It is very important that you comply with all safety signs and instructions on site.

If you are carrying out work or visiting an area of the site where there is a significant safety risk, you will be shown a copy of the Health & Safety Risk Assessment for that area.  Please take time to read it and ask if you are not sure about anything.

If you see anything on site that you consider unsafe, we encourage you to report it to your host or to the Site Manager.