Site Name:

Permit to Work (HSF23A) Number:

THIS CERIFCATE MUST NOT BE ISSUED WITHOUT A PERMIT TO WORK. SITE CONDITIONS MUST BE CHECKED PERSONALLY BY SIGNATORIES. THE SPECIAL PRECAUTIONS OVERLEAF MUST BE ADHERED TO.

Permission granted to

……………………………………………………………………………… (Contractor/Operative) To use …………………………………………………………………………….. (Nature of work) In the ………………………………………………………………………………. (Exact Location) From ……………………………………. To:………………………………….. (Date & Time) (Date & Time)

Specific Conditions

The above location has been examined There are no combustible liquids, vapours or dusts. All combustible material in the area and in voids below the work area has either been removed or suitably protected against heat and sparks. Appropriate means of fighting fire and at least one person trained in its use will be in the immediate vicinity while work is in progress. The general fire precautions on the reverse of this Hot Work Certificate are known to the contractor carrying out the Hot Work. The work area and all adjacent areas to which sparks and heat might have spread are to be thoroughly inspected on completion of the work and then 30 minutes later to ensure there are no smouldering fires.

Special Conditions

Signature of Persons Issuing Certificate

Signed ………………………………… Print Name:…………………………….. Date …………………. Time/Date:…………………….am/pm Information concerning the works passed to: ……………………………………………………

Hot Work completed Date: ……………………………… Time:…………………….

Signature of Person responsible for the work

I confirm that all work associated with this permit has been completed and that the conditions detailed on the permit were maintained at all times. Signed ………………………………… Print Name:…………………………….. Date …………………. Time/Date:…………………….am/pm

(Reverse)

Special Precautions Cutting and Welding It shall be ensured that: the job cannot be done by some other means e.g. dismantling with spanners or cold cutting Two people are present throughout the work Equipment, especially flexible hose, is in good condition There are no combustible materials on which sparks may fall. All such materials, if they cannot be removed e.g. floors, voids, and nearby walls, should be covered with non-combustible materials e.g. metal sheeting or fire blankets No lagging or other combustible material is in contact with metal that might become heated by the cutting and/or welding process Portable extinguishers or hose reels are nearby and, if the risk is considered great, a person trained in their use is standing by with fire fighting equipment whilst the works in progress Gas cylinders are returned to store or an approved area after use. Bitumen Heating, Soldering and other processes requiring heat It shall be ensured that; equipment is not left unattended equipment is placed on non-combustible flooring or if this is not possible, an insulting and non-combustible base i.e. a concrete block should be placed underneath suitable extinguishers are nearby and operators are trained in their use e.g. a 9 litre foam extinguisher should be provided where bitumen heating is carried out soldering irons are used with metal stands designed to keep the bits away from combustible surfaces electric soldering irons and other electrical equipment are unplugged when not in use bitumen heaters are placed where an overflow can be easily controlled without risk of spread to other parts of the site/premises Blow Lamps and Blow Torches It shall be ensured that; kerosene blow lamps are only filled and lighted in the open air and not refilled when hot gas blow lamps are allowed to cool before changing cylinders blow lamps are not left burning unattended care is taken to avoid ignition of combustible materials in unseen cavities e.g. window frames portable extinguishers or hose reels are readily available and operatives trained in their use. Highly Flammable Liquids (Quantities over 500ml with flash points below 32°C e.g. mentholated spirits, acetone, ether and some adhesives, paints and cleaning agents.) It shall be ensured that: non-flammable or less flammable alternatives are used wherever possible highly flammable liquids are not brought onto site/premises without consent not more than the amount required for one days work is kept in the work area dispensing of highly flammable liquids is carried out in the open air supply stocks are kept in a flammable liquid store or cabinet if one is available or in a locked, fenced compound in the open small quantities are kept in and used from safety containers smoking materials, portable electrical equipment (unless flame proof or intrinsically safe) and other ignition sources are prohibited in any area where highly flammable liquids are being used and/or stored good ventilation is provided contaminated rags and/or other waste is disposed of in metal bins with lids and in compliance with the relevant Waste Regulations foam and/or dry powder extinguishers are provided and operatives trained in their use.